Annual Fire Safety Statement
and

Deadline for Fire Safety Statements

What is a fire safety Statement?
An annual Fire Safety Statement is a statement issued by or on behalf of the owner of a building that:

· Each Essential Fire Safety Measure specified has been assessed by a properly qualified person and performs to the original standards: and

· The building has been inspected by a properly qualified person and all fire safety notices (applicable to fire) are displayed, all fire doors relating to exits, and paths of travel to fire exits, are not obstructed or impeded.
Issue of Annual Fire Safety Statements
· The choice of the qualified person to carry out an assessment or inspection is up to the Group.

· The person who carries out an Assessment must inspect and verify the performance of each essential fire safety measure being assessed.
· Each year the group is to ensure that a new Annual Fire Safety statement is obtained within 12 months from the date the previous Fire Safety Statement was obtained.

· The Group is to prominently display the Annual Fire Safety Statement in the Scout Hall. Two copies must be forwarded to the region office.

The Regulation 
· A number of items are classified under the Environmental Planning and Assessment Regulation 2000 as Fire Safety Measures e.g. Smoke Detectors, Emergency Lights and Signs, Fire Exits and Doors, Fire Extinguishers and Fire Hoses.
The Deadline
· The Chief Commissioner Doug Menzies has set the deadline for the Fire Safety Statement to be in at the region office by 31 December 2013. The date is final and any Group or hall that does not comply will not open their doors next year.

· What does this mean to groups? If you have a permanent hire they will not be able to use your hall. More important your Scout Group will not be able to meet until this Statement has been received.

Procedure and Options

· Your group must obtain a Fire Safety Statement. 
· The Region has obtained a quote from 5 Star Fire safety for inspection and  certificate for Bundilla.
· Contact your own contractor. 
· The important thing is get it done.
· If you sit back and wait and do nothing and do not obtain this document you will be CLOSED.
Details of our contractor

 [image: image1.png]Extinguisher Services




PO Box 345
Toongabbie NSW 2146Email: peter.5star@yahoo.com.au  Phone: (02) 9609 7420 Mobile 0413 283 150
